## Slide 1
Utility Scale Workshop - Bidding & Optimization
GELI| April 3, 2023

## Slide 2
Agenda
Introduction to optimization
Understanding ERCOT
ERCOT optimization approach
Preliminary optimization results
Next steps
Cloud architecture

## Slide 3
Introduction to optimization

## Slide 4
GELI Optimization Platform
Utility Scale
Optimization Platform
Asset Models
Battery Model
Load Control Model
Solar Model
Market Model
Revenue Models
Self-Consumption
DCM/TOU
Demand Response
Wholesale Markets
Spot Market
Ancillary Services
Forecasting Models
Machine Learning
Weather Service Integration
Revenue Stack maximization
Renewables and market revenue services
C&I
Resi VPP
VPP: Virtual power plant
DCM: Demand charge management
TOU: Time-of-use
Notes: Combination of asset models (battery model, load control model, solar model, etc) and revenue models (DCM, Demand response, Wholesale etc), with associated constraints.
Forecaster- Forecasts load, solar, prices, etc. & Forecasts are updated continually
Optimizer- Schedules profit-maximizing charge and discharge decisions & Updates schedule continually

## Slide 5
Introduction to Optimization
All optimization problems involve:
  Decision variables: the vector
  Objective or “cost” function:
  Constraints: functions and
Feasible Solution:
  Values for the vector that satisfy constraints
Optimal Solution:
  Values for x that give the largest possible objective value while still satisfying the constraints
  Optimal solutions satisfy certain conditions
Notes: Four minutes
Show what mathematical programming is
What are we trying to achieve: maximization
Subject to constraints and bounds, etc.

## Slide 6
Example Optimization Problem
Maximize
  subject to constraints
Optimal Solution
-x + y ≤ 5
2x + y ≤ 10
x + 2y
Feasible region
Improving objective
Optimal Solution
Notes: Four minutes.
Talk about linear programming and show an example
Add discrete decisions and show how it affects the example
Give a comparison of the example with the size of the ERCOT problem
  e.g., it has x times as many variables and y times as many constraints

## Slide 7
Real World Optimization Application- C&I Example
Demand charge management: keep consumption low
Self-generation Incentive Program (SGIP) greenhouse gas (GHG) reduction: discharge when emissions spike
When GHG intensity spikes, the battery discharges
The battery maintains capacity to attack load peaks
The battery charges while load remains below threshold
Notes: Four minutes.
Walk through a C&I or residential GELI application
Show the optimization schedule, explain how it makes sense
Emphasize that we are leveraging our existing platform for front-of-meter
This site provides a good example of how GELI co-optimizes two competing economic objectives to maximize overall value to the customer. In this site, GELI is co-optimizing Demand Charge Management with the SGIP GHG reduction. The GHG intensity of the grid is shown in the light shaded green. The current peak demand at the site is shown by the dotted green line labeled “Peak Demand Threshold.” When the carbon intensity of the grid spikes, the battery discharges. However, GELI still aims to maintain battery capacity in order to attack load peaks that may arise. When the carbon intensity of the grid decreases, the battery charges such that the load does not increase above the current peak demand threshold.

## Slide 8
Understanding ERCOT

## Slide 9
Power market and ERCOT basics
What is a power market?
  Power markets can be organized (“ISOs”) or non-organized (gray regions on map)
  2 key functions of ISOs - Grid Operator & Exchange
  Not all power markets are electrically deregulated3
What is ERCOT?
  The Electric Reliability Council of Texas
  Quick facts: peak demand 80 GW1 (90% of TX load), total installed operating capacity 140 GW2, 1,800 market participants
  Is an energy-only market
    Capacity isn’t procured
    Supply incentivized purely on market signals
Credit: SustainableFERC
1On July 20, 2022
2Operational generation capacity, per ERCOT’s CDR report as of November 2022
3See appendix
Notes:   2 functions:
    Grid operator - to keep the lights on; balance supply and demand instantly and continuously
    Exchange – to buy and sell wholesale electricity
  deregulated states use markets to determine which power plants are necessary for electricity generation

## Slide 10
Market products in ERCOT
Energy in the Day Ahead Market (“DAM”)
  The DAM is a voluntary financial market
  Financial purchase & sale of power one day prior to the operating day
  Generally, prices premium to RTM but less volatility
Energy in the Real Time Market (“RTM”)
  Physical purchase and sale of energy every 5 minutes during the operating day
  Generally, lower prices than in DAM but more volatility
Ancillary Services (“AS”) in the DAM
  Uncommitted capacity sold by generators and procured by ERCOT
  Capacity used as option by ERCOT to request for more or less energy when needed
  Results physically binding
  3 types of AS:
    Regulation (Up & Down) – increase/decrease supply every 4 seconds
    Responsive Reserves (“Spin”) – increase remainder online capacity within 10 minutes
    Non-spin – increase remainder online/offline capacity within 30 minutes
Notes: How do you transact in the market?
Energy in the Day Ahead Market (“DAM”)
  Voluntary financial market to purchase and sell electricity
  Results are financially binding
  Mechanism to hedge against price uncertainty in the Real Time
  Comprises 95% of all market transactions
  Available in all ISOs
Energy in the Real Time Market (“RTM”)
  Physically purchase and sell electricity up to every 5 minutes during the entire day
  Balancing market to adjust for differences between the day ahead and real-time supply and demand schedules
  Available in all ISOs
Ancillary Services (“AS”) in the DAM and RTM
  Services sold by generators and procured by the ISO in the DAM to ensure real time grid reliability
  Procured AS is charged to loads pro-rata and is paid to generators providing AS
  Service types include voltage control, reactive power, frequency control, spinning reserves, and standby power
  Available in all ISOs (some ISOs procure AS in both the DAM and RTM)
Capacity (Long-Term)
  The North American Electric Reliability Corp (“NERC”) requires electric retailers to ensure they have sufficient generating capacity to meet forecasted load plus a reserve margin
  ISOs run auctions for capacity based on projections of electric demand 3 years out
  Offers for capacity are “cleared” in order of least cost against the forecasted system demand
  Capacity markets are currently only available in PJM, NYISO, MISO, and ISO-NE

## Slide 11
ERCOT Target Market Products for FOM Bid Optimization
Target Market Products
ERCOT
DA
AS
Responsive Reserves
Contingency Reserves8
Regulation
Energy
RegUp1
RegDn1
FFR2
UFR3
PFR4
RT
Non-Spin7
Energy
Generation5
Load Resources6
1Regulation Up/Down. Full response in 5 seconds. Must sustain for 1 hr.
2Fast Frequency Response. Full response in 15 cycles (15 minutes). Must sustain for 15 minutes.
3Under Frequency Relay. Full response in 30 cycles. Applicable to Non-Controllable Load Resources. Sustained until recalled.
4Primary Frequency Response. Full response in 15 to 30 minutes. Must be sustained for 1 hr.
5Full response in 10 minutes. Must sustain for 2 hrs.
6Full response in 10 minutes. Sustained until recalled.
7Full response in 30 minutes. Must sustain for 4 hours.
8To be implemented by ERCOT in Q3 2023.
Note: all target AS products are subject to qualification by the participating resource
Accordingly, our target market products are based on the anticipated participation of market products at Cunningham
Notes: Fast Reg – 1 second response
Reg – 5 second response
FFR Spin – 15 minute response
PFR – 15-30 minute response
CRS – 30 minutes response

## Slide 12
Capturing ERCOT market rules, subtleties, and evolving market design into model
Market rules:
  Market operations timeline
  DA and RT market products
  Bid and offer validation rules
  Market settlements
Subtleties:
  Energy Storage Resources (“ESRs”)
  Dual-registration - Generator Resource (to discharge) and Controllable Load Resource (to charge)
  Bids and offers submission deadline in RTM
  SOC management
Evolving market design:
  Market offer cap reduction – January 2022
  BPM1 rule change impacting ESRs - December 2022
  ERCOT Real Time Co-Optimization (“RTC”) – 2024
  ESR single model design – 2024
1BPM: Business Practice Manual
2SOC: State of Charge
Notes: Cap reductions – LCAP $2,000, HCAP - $5,000, enforced by PUCT
BPM3 rule change December 2022: An ESR that is carrying Ancillary Service awards must reserve sufficient SOC for the awarded AS4 it is carrying in Real Time.
RTC: RTC is the process of dispatching energy and ancillary services interchangeably in the Real-Time Market.
Market rules:
  Market operations timeline – DAM and RTM participation deadlines
  DA and RT market products – Energy & AS
  Bid and offer validation rules – how to create and submit valid bids & offers
  Market settlements of DA and RT transactions – how to get paid
Subtleties:
  Battery storage resources are known as Energy Storage Resources (“ESRs”) in ERCOT
  ESRs must be dually-registered as both a Generator Resource (to discharge) and Controllable Load Resource (to charge)
  Bids and offers associated with an ESR may be updated every 5 minutes
  QSEs must manage SOC of battery to ensure awards and dispatches are met
Evolving market design:
  Market offer cap reductions – January 2022
  BPM1 rule change impacting ESRs - December 2022
  ERCOT Real Time Co-Optimization (“RTC”) – 2024
  ESR single model design – 2024

## Slide 13
Growth in energy generated from wind and solar generation
Since 2012, energy generated from wind and solar resources has increased by over 300%, meanwhile energy generated from coal resources has been cut in half
The increase in this generation is attributable to its decreasing cost of production
As of November 2022, ERCOT had 36 GW (26%) of wind and 14 GW (10%) of solar installed operating capacity
1LCOE reflects the average unsubsidized LCOE between the high and low value
2Other means neither of the above technologies
Per ERCOT’s Fuel Mix Report & Lazard’s annual LCOE Report
Chart: ERCOT Energy by Fuel Type
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Nuclear | 0.11855 | 0.11626 | 0.11595 | 0.11341 | 0.11944 | 0.10744 | 0.10937 | 0.10774 | 0.10893 | 0.10284 | 0.097073
Coal | 0.33844 | 0.37366 | 0.36148 | 0.28121 | 0.28692 | 0.32128 | 0.24799 | 0.20304 | 0.18001 | 0.19109 | 0.16661
Gas | 0.44716 | 0.40739 | 0.41247 | 0.48347 | 0.43558 | 0.38742 | 0.44467 | 0.47404 | 0.45664 | 0.41989 | 0.4264
Wind | 0.091909 | 0.099167 | 0.10666 | 0.11745 | 0.15082 | 0.17357 | 0.18562 | 0.20005 | 0.22882 | 0.24364 | 0.24995
Solar | 0.00038048 | 0.0004525 | 0.00089324 | 0.0012114 | 0.0023741 | 0.0063006 | 0.0086166 | 0.01147 | 0.022987 | 0.040124 | 0.056376
Hydro | 0.0014071 | 0.00089815 | 0.00065961 | 0.0016217 | 0.0030095 | 0.0023885 | 0.0021568 | 0.0024932 | 0.0016789 | 0.0012864 | 0.0008016
Other | 0.0021504 | 0.0021778 | 0.0018934 | 0.001624 | 0.001855 | 0.0015933 | 0.0015744 | 0.0011605 | 0.00093273 | 0.0011358 | 0.0027846
LCOE - Solar | 125 | 104 | 79 | 65 | 55 | 50 | 43 | 41 | 40 | 38
LCOE - Wind | 72 | 70 | 59 | 55 | 47 | 45 | 42 | 40 | 37 | 36
Notes: The fuel mix of a power market is indicative of market price behavior
Over one-third of ERCOT’s installed capacity is from wind and solar resources, compared to only 13% since just a decade ago
  The majority of this was from wind

## Slide 14
Solar installations on rapid rise
In the next 18 months, total wind and solar installed capacity is expected to increase by 40% to 74 GW
Of the total additions by July 2024, 19 GW is from solar and the remainder is from wind resources
Per ERCOT’s Fuel Change by Type Report
Notes: Of the 21 GW in additions, less than one-third has no FS yet

## Slide 15
Growth in battery installations complements onset of renewables
Credit: BTU Analytics
Currently, ERCOT has 2 GW of installed utility scale battery capacity, 2nd to CAISO at nearly 5 GW1
With 1.5 GW of battery under construction2 and 7.5 GW in advanced development3, installed battery capacity is expected to reach 11 GW by summer 2025
1Per S&P Outlook 2022: Solar, battery storage spark CAISO capacity surge
2Under Construction means IA and FS achieved
3Advanced development means either IA or FS achieved

## Slide 16
CAISO’s infamous ‘duck curve’ is on the way to ERCOT
A duck curve refers to the effects on the net demand (gross demand minus wind and solar output) pattern observed in CAISO with its increasing penetration of solar and wind output over time
During low load seasons (i.e. spring), the shape in net demand results in a pronounced trough (reduction) in net demand midday when solar output is greatest and demand is often lowest
Before the sun rises and after the sun sets, the net demand will be higher creating sharp ‘peaks’ and higher ramping needs
Demand has a direct 1:1 effect on prices (next slide)
Notes: A look at the evolution of CAISO battery dynamics may be predictive for ERCOT’s own market.

## Slide 17
Battery bidding behavior in ERCOT expected to follow suite to CAISO
In the last 2 years, installed BESS capacity in CAISO increased tenfold from 0.5 GW to 5 GW
Per BTU Analytics, CAISO’s rapid buildout of battery coincided with a change in battery bidding behavior
Battery bidding behavior changed from primarily selling regulation services (similar to ERCOT present day) to performing energy arbitrage
Energy arbitrage means charging during the daily minimums in net demand, particularly late at night and during the midday, then discharging during times of peak net load (i.e. evening)
Credit: BTU Analytics
Note: winter defined as November through January. When negative, BESS is charging. Data reported using moving average.
1ERCOT Battery Dynamics Set to Follow CAISO Trends
Notes: Battery bidding behavior changed from primarily selling regulation services (similar to ERCOT present day) to performing energy arbitrage when battery operational capacity reached just over 1 GW

## Slide 18
Long term revenue forecast for Cunningham agrees with observed trends
Ascend’s long term revenue model for Cunningham projects the majority of revenue to switch from selling Spin to energy arbitrage starting in 2025
This is due to onset of batteries competing to sell Spin, thus cannibalizing its respective market value
As solar penetration increases, energy arbitrage will become more lucrative given the deeper reduction in net demand midday, thus permitting for peak charging
Per Ascend’s long-term revenue model for Cunningham
Notes: $45,154,514, 2023
$24,671,057, 2032
ERCOT has traditionally had the highest prices for Spin due to high wind penetration causing for large ramp needs

## Slide 19
How much profit could batteries make in ERCOT with perfect foresight?
Based on a study1, the table on the left shows gross profit batteries in ERCOT would have made in 2021 (excluding the period4 of Winter Storm Uri) using perfect foresight of market prices
Key takeaways:
  With perfect foresight2,3, batteries could have earned an annual avg. gross profit of $25/kW-month
  RRS and RegUp contributed the greatest to total gross profit
  RTM Energy5 revenue is from RTM energy arbitrage – “energy operations will grow in importance as ancillary service markets saturate” (per Gridmatic)
1This study was performed by Gridmatic and validated by DNV
2Due to market rules limits storage participation in non-spin, it was not considered as part of this study
3In order to present a conservative uplift case, DAM Energy participation (DART arbitrage considered Gridmatic’s core trading business) was also not considered in this study
42/12/2021-2/22/2021
5RTM energy revenue was calculated using 15-min actual generation, consumption and Settlement Point Prices from Disclosure Reports
Credit: DNV
Notes: Gridmatic is an AI-enabled power marketer founded in 2017 with the objective of applying machine-learning algorithms to the problem of forecasting energy supply, demand, and pricing in wholesale energy markets.
Battery sizes:
  Size: 2 MW – 100 MW / 1 to 4.2 MWh
  Cycling limit: 365 per year
Gross profit has a lower bound of $20 to high of $30

## Slide 20
ERCOT optimization approach

## Slide 21
Optimization Model Summary
The work completed so far is a foundational starting point.
We optimize combined energy arbitrage within DA and RT energy markets.
We simultaneously optimize combined ancillary service power allocations.
We act as a price-taker: we bid at the market cap and offer at the floor.
We commit to pending and awarded trades in all markets and services.
We ensure operational feasibility by physically modeling the battery.

## Slide 22
Optimization Model Variables
Physical discharge power (generation)
Physical charge power (load)
Stored energy (“state of charge”)
Day ahead energy purchases/sales
Real-time energy purchases/sales
Regulation-up/-down gen/load sales
Responsive reserve gen/load sales
Chart: Power (MW)


Chart: Energy (MWh)
| 44791 | 44791.041655092595 | 44791.041666666664 | 44791.083321759259 | 44791.083333333336 | 44791.124988425923 | 44791.125 | 44791.166655092595 | 44791.166666666664 | 44791.208321759259 | 44791.208333333336 | 44791.249988425923 | 44791.25 | 44791.291655092595 | 44791.291666666664 | 44791.333321759259 | 44791.333333333336 | 44791.374988425923 | 44791.375 | 44791.416655092595 | 44791.416666666664 | 44791.458321759259 | 44791.458333333336 | 44791.499988425923 | 44791.5 | 44791.541655092595 | 44791.541666666664 | 44791.583321759259 | 44791.583333333336 | 44791.624988425923 | 44791.625 | 44791.666655092595 | 44791.666666666664 | 44791.708321759259 | 44791.708333333336 | 44791.749988425923 | 44791.75 | 44791.791655092595 | 44791.791666666664 | 44791.833321759259 | 44791.833333333336 | 44791.874988425923 | 44791.875 | 44791.916655092595 | 44791.916666666664 | 44791.958321759259 | 44791.958333333336 | 44791.999988425923 | 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Energy | 0 | 190 | 380 | 190 | 380 | 190 | 0 | 190 | 380 | 323.2188 | 297.2471 | 259.8754 | 228.5058 | 205.7762 | 152 | 0 | 133.7925 | 258.2453 | 68.2453 | 0 | 11.8844 | 67.5455 | 0 | 56.0334 | 0 | 190 | 380 | 316.8073 | 380 | 190 | 0 | 190 | 380 | 357.1041 | 309.9461 | 379.2012 | 358.3224 | 336.2578 | 317.3092 | 127.3092 | 0 | 77.704 | 43.5429 | 0 | 33.8666 | 80.492 | 0
Chart: Award (MW)
Chart: Award (MW)
Notes: Four minutes.

## Slide 23
Parameters: Physical Limits
State of charge lower, upper limits
Generation lower, upper limits
Load lower, upper limits
Charge, discharge efficiencies
Cunningham
SOC, lower: 0 MWh
SOC, upper: 380 MWh
Power, lower: 0 MW
Power, upper: 190 MW

Notes: Four minutes.

## Slide 24
Parameters: Markets and AS Utilization
Energy and ancillary service prices
Ancillary service dispatch levels
  Expected gen. ancillary service use
  Expected load ancillary service use
All quantities must be forecasted!
We assume perfect foresight hereafter
Chart: Price (USD/MWh)
Chart: Deployed Utilization (%)
Notes: Four minutes.

## Slide 25
Parameters: User-defined Limits
Proportional discharge limits
Proportional charge limits
Allows the user to bias power allocations toward one market/service or another
In the absence of probabilistic price forecasts, enables heuristic alternatives
Chart: Example User-defined Configuration
| Day Ahead Energy Discharge | Day Ahead Energy Charge | Real Time Energy Discharge | Real Time Energy Charge | Regulation Up Discharge | Regulation Up Charge | Regulation Down Discharge | Regulation Down Charge | Responsive Reserve Discharge | Responsive Reserve Charge
Percentage | 50 | 50 | 100 | 100 | 100 | 20 | 75 | 50 | 80 | 90
Notes: Four minutes.

## Slide 26
Optimization Objective
Energy arbitrage
Ancillary services
Ancillary service energy true-up
Throughput (cycling) penalty
Notes: Five minutes.

## Slide 27
Optimization Constraints
Energy, charging power, and discharging power bounds
Charging and discharging complementarity
Energy market and ancillary service award limits
Ancillary service headroom limits, based on energy market commitments
Temporal modeling of the battery’s state of charge
Partitioning of physical and market power quantities
User-defined energy market and ancillary service power limits
Notes: Five minutes.

## Slide 28
Preliminary optimization results

## Slide 29
Perfect Foresight Assumptions
A battery with 380 MWh of capacity and charge/discharge limits of 190 MW
Perfect charge and discharge efficiencies ()
A study period extending from February 1, 2022, to February 1, 2023
No operational downtime throughout the study period
Perfect foresight of all market prices and ancillary service signals
One-hour simulation granularity (i.e., a modeling time step of one hour)
Acceptance and award of all energy and ancillary service bids and offers
  A reasonable assumption given our extreme price-taker approach
Bids, offers, and operational decisions do not affect market prices
Notes: Five minutes.

## Slide 30
Perfect Foresight Results
Chart: Weekly Mean Price (USD/MWh)
| 44598 | 44605 | 44612 | 44619 | 44626 | 44633 | 44640 | 44647 | 44654 | 44661 | 44668 | 44675 | 44682 | 44689 | 44696 | 44703 | 44710 | 44717 | 44724 | 44731 | 44738 | 44745 | 44752 | 44759 | 44766 | 44773 | 44780 | 44787 | 44794 | 44801 | 44808 | 44815 | 44822 | 44829 | 44836 | 44843 | 44850 | 44857 | 44864 | 44871 | 44878 | 44885 | 44892 | 44899 | 44906 | 44913 | 44920 | 44927 | 44934 | 44941 | 44948 | 44955 | 44962
Day Ahead Energy | 59.8186 | 33.1827 | 28.2158 | 43.6171 | 38.4313 | 56.5407 | 29.3734 | 38.7246 | 40.2526 | 46.6262 | 67.3755 | 55.0776 | 50.5191 | 75.7132 | 117.532 | 75.0456 | 66.7257 | 65.6984 | 85.8107 | 75.0633 | 91.8416 | 67.4979 | 99.962 | 185.0435 | 138.1205 | 92.1256 | 90.2637 | 116.8512 | 112.7867 | 87.9988 | 85.4014 | 76.5846 | 65.3086 | 77.0404 | 43.7854 | 53.0484 | 55.1174 | 44.6308 | 42.6002 | 33.3786 | 43.0449 | 57.5904 | 47.5533 | 42.6448 | 39.2898 | 42.8271 | 157.7299 | 25.3555 | 22.8915 | 20.9247 | 22.063 | 23.0583 | 65.6377
Real Time Energy | 27.5017 | 30.1606 | 22.2136 | 36.779 | 36.3377 | 37.0191 | 23.4601 | 31.5143 | 35.406 | 48.696 | 49.7387 | 48.3731 | 41.6889 | 59.2595 | 99.32 | 66.1684 | 51.278 | 59.2187 | 66.4974 | 61.8902 | 63.449 | 61.2058 | 99.1862 | 212.1037 | 122.4949 | 76.7762 | 74.7053 | 86.3655 | 82.4746 | 82.1393 | 74.6066 | 66.3103 | 57.7567 | 56.9205 | 43.2066 | 49.6859 | 51.5637 | 35.6273 | 39.2522 | 26.8672 | 31.7007 | 53.5519 | 46.6175 | 42.1323 | 44.6514 | 35.4679 | 105.6368 | 16.4372 | 20.3728 | 14.3982 | 22.2193 | 21.5676 | 72.0352
Regulation Up | 25.804 | 11.3967 | 10.9355 | 12.7333 | 15.8999 | 22.3336 | 23.5433 | 18.1064 | 18.3319 | 19.1182 | 20.9429 | 17.8012 | 17.6652 | 26.6917 | 65.1167 | 26.7998 | 21.2989 | 17.2432 | 20.2218 | 14.9152 | 37.7411 | 15.5609 | 47.9338 | 125.7082 | 67.707 | 21.388 | 18.7889 | 17.4605 | 23.7593 | 12.4016 | 11.7869 | 8.4446 | 9.0938 | 16.361 | 7.9273 | 8.2051 | 9.2922 | 6.839 | 6.8243 | 6.3243 | 7.7846 | 5.8821 | 5.9132 | 9.1529 | 7.9421 | 9.0046 | 134.4061 | 6.6076 | 4.4397 | 5.0249 | 5.448 | 4.0209 | 11.5606
Regulation Down | 11.0545 | 7.9827 | 9.1683 | 7.8277 | 14.4829 | 14.7778 | 22.1319 | 15.8961 | 14.4124 | 13.6929 | 11.5234 | 14.3099 | 13.7145 | 19.2245 | 17.1784 | 13.8932 | 15.2999 | 8.3825 | 7.0393 | 6.0461 | 7.0438 | 4.0542 | 5.8665 | 9.6843 | 11.6819 | 6.8852 | 6.4941 | 5.3598 | 5.778 | 4.4174 | 4.8205 | 4.5379 | 8.429 | 4.89 | 6.3933 | 3.382 | 3.4568 | 3.6231 | 3.7762 | 3.7021 | 3.5992 | 1.7996 | 4.1308 | 6.2079 | 4.7908 | 5.0522 | 14.9908 | 5.2985 | 4.5683 | 4.6575 | 5.4387 | 3.204 | 4.7273
Responsive Reserve | 24.9076 | 10.3849 | 8.3742 | 10.6217 | 12.3593 | 21.5783 | 21.3368 | 17.8233 | 17.5571 | 18.5015 | 20.461 | 17.651 | 17.492 | 26.1801 | 64.3673 | 25.973 | 20.349 | 13.2563 | 22.2756 | 16.0996 | 38.3642 | 14.1499 | 44.6977 | 125.1199 | 62.9833 | 16.353 | 14.0211 | 13.2484 | 20.2705 | 9.6176 | 9.1953 | 6.1187 | 6.0571 | 11.8734 | 4.3233 | 5.8698 | 7.533 | 5.5307 | 4.6062 | 3.8664 | 5.076 | 4.1985 | 3.363 | 6.0722 | 4.8724 | 4.7479 | 159.7104 | 5.8132 | 3.1124 | 4.3095 | 4.5355 | 3.1888 | 8.2562
Chart: Discharge Cycles
| 44598 | 44605 | 44612 | 44619 | 44626 | 44633 | 44640 | 44647 | 44654 | 44661 | 44668 | 44675 | 44682 | 44689 | 44696 | 44703 | 44710 | 44717 | 44724 | 44731 | 44738 | 44745 | 44752 | 44759 | 44766 | 44773 | 44780 | 44787 | 44794 | 44801 | 44808 | 44815 | 44822 | 44829 | 44836 | 44843 | 44850 | 44857 | 44864 | 44871 | 44878 | 44885 | 44892 | 44899 | 44906 | 44913 | 44920 | 44927 | 44934 | 44941 | 44948 | 44955 | 44962
Cycles | 18.0768 | 32.0792 | 46.708 | 65.0946 | 79.8414 | 95.747 | 106.7676 | 121.8424 | 136.4119 | 152.5683 | 170.1247 | 185.6621 | 201.4258 | 216.6777 | 234.8139 | 253.2659 | 272.6143 | 288.0336 | 307.2737 | 324.385 | 340.0601 | 357.7301 | 375.9026 | 392.145 | 407.9948 | 426.7835 | 445.8679 | 465.9425 | 485.3221 | 504.4889 | 523.8281 | 543.9124 | 559.6916 | 578.7344 | 593.8302 | 613.5047 | 631.9052 | 657.5489 | 678.8664 | 699.7598 | 724.0959 | 751.3423 | 776.5216 | 797.2884 | 817.7043 | 838.2291 | 859.1623 | 883.3383 | 904.133 | 925.4282 | 944.7701 | 970.4334 | 980.0025
Chart: Value (MM USD)
| 44598 | 44605 | 44612 | 44619 | 44626 | 44633 | 44640 | 44647 | 44654 | 44661 | 44668 | 44675 | 44682 | 44689 | 44696 | 44703 | 44710 | 44717 | 44724 | 44731 | 44738 | 44745 | 44752 | 44759 | 44766 | 44773 | 44780 | 44787 | 44794 | 44801 | 44808 | 44815 | 44822 | 44829 | 44836 | 44843 | 44850 | 44857 | 44864 | 44871 | 44878 | 44885 | 44892 | 44899 | 44906 | 44913 | 44920 | 44927 | 44934 | 44941 | 44948 | 44955 | 44962
Profit | 0.82973 | 1.3589 | 1.806 | 3.7918 | 4.472 | 5.4214 | 6.4192 | 7.3163 | 8.1601 | 9.4601 | 10.4196 | 11.2983 | 12.0155 | 13.2879 | 16.8511 | 18.0587 | 19.0955 | 19.8145 | 20.7474 | 21.4322 | 22.7938 | 23.4277 | 26.3561 | 33.4423 | 36.4962 | 37.3614 | 38.3488 | 39.5246 | 40.6177 | 41.2512 | 41.764 | 42.1773 | 42.6662 | 43.3891 | 43.8038 | 44.1945 | 44.8585 | 45.26 | 45.7244 | 46.1577 | 46.6541 | 47.1361 | 47.5904 | 48.0984 | 48.5269 | 48.9977 | 55.4599 | 55.8569 | 56.1886 | 56.4948 | 56.861 | 57.1518 | 57.5449
Cost | 0.15147 | 0.27023 | 0.36159 | 0.76193 | 0.91686 | 1.0774 | 1.1544 | 1.2807 | 1.4097 | 1.5824 | 1.8284 | 2.0393 | 2.2439 | 2.5013 | 2.8229 | 3.1286 | 3.3629 | 3.6333 | 4.0406 | 4.3668 | 4.6631 | 4.9944 | 5.4541 | 5.974 | 6.3429 | 6.8009 | 7.248 | 7.8988 | 8.4389 | 8.975 | 9.47 | 9.9714 | 10.2897 | 10.6724 | 10.8844 | 11.1944 | 11.4839 | 11.7688 | 11.9993 | 12.1885 | 12.4307 | 12.903 | 13.2499 | 13.4915 | 13.7602 | 13.9753 | 14.2486 | 14.3387 | 14.444 | 14.5136 | 14.6153 | 14.7636 | 14.9011
Revenue | 0.97685 | 1.6287 | 2.1676 | 4.5527 | 5.3888 | 6.4988 | 7.5736 | 8.597 | 9.568 | 11.0425 | 12.2451 | 13.3374 | 14.2594 | 15.7893 | 19.6688 | 21.1872 | 22.4584 | 23.4478 | 24.7832 | 25.799 | 27.457 | 28.4221 | 31.8102 | 39.4134 | 42.8368 | 44.1567 | 45.5968 | 47.4234 | 49.0566 | 50.2262 | 51.2266 | 52.1488 | 52.9559 | 54.0616 | 54.6861 | 55.3888 | 56.3389 | 57.0289 | 57.7237 | 58.3428 | 59.0844 | 60.0331 | 60.8308 | 61.5899 | 62.2871 | 62.973 | 69.7074 | 70.1956 | 70.6326 | 71.0084 | 71.4763 | 71.9153 | 72.4461
Nearly 1,000 charge/discharge cycles
Note the plot of prices is logarithmic
Around $57MM in yearly profit*
Large revenue spikes during price peaks
*These are preliminary theoretical maxima, not attainable for projects
Notes: Four minutes.
In big, bold letters: this is a best-case scenario. We do not anticipate these profits to be realized in practice. Consider these results as upper bounds on profit.
Show the base perfect foresight simulation (no limit on cycles) and discuss the behavior. Point out how ancillary services are coordinated with respect to price and utilization to take advantage of layering charging and discharging behavior with real-time prices.

## Slide 31
Perfect Foresight Results: Zoom-in
Chart: Price (USD/MWh)
| 44792 | 44792.003460648149 | 44792.003472222219 | 44792.006932870368 | 44792.006944444445 | 44792.010405092595 | 44792.010416666664 | 44792.013877314814 | 44792.013888888891 | 44792.01734953704 | 44792.017361111109 | 44792.020821759259 | 44792.020833333336 | 44792.024293981478 | 44792.024305555555 | 44792.027766203704 | 44792.027777777781 | 44792.031238425923 | 44792.03125 | 44792.034710648149 | 44792.034722222219 | 44792.038182870368 | 44792.038194444445 | 44792.041655092595 | 44792.041666666664 | 44792.045127314814 | 44792.045138888891 | 44792.04859953704 | 44792.048611111109 | 44792.052071759259 | 44792.052083333336 | 44792.055543981478 | 44792.055555555555 | 44792.059016203704 | 44792.059027777781 | 44792.062488425923 | 44792.0625 | 44792.065960648149 | 44792.065972222219 | 44792.069432870368 | 44792.069444444445 | 44792.072905092595 | 44792.072916666664 | 44792.076377314814 | 44792.076388888891 | 44792.07984953704 | 44792.079861111109 | 44792.083321759259 | 44792.083333333336 | 44792.086793981478 | 44792.086805555555 | 44792.090266203704 | 44792.090277777781 | 44792.093738425923 | 44792.09375 | 44792.097210648149 | 44792.097222222219 | 44792.100682870368 | 44792.100694444445 | 44792.104155092595 | 44792.104166666664 | 44792.107627314814 | 44792.107638888891 | 44792.11109953704 | 44792.111111111109 | 44792.114571759259 | 44792.114583333336 | 44792.118043981478 | 44792.118055555555 | 44792.121516203704 | 44792.121527777781 | 44792.124988425923 | 44792.125 | 44792.128460648149 | 44792.128472222219 | 44792.131932870368 | 44792.131944444445 | 44792.135405092595 | 44792.135416666664 | 44792.138877314814 | 44792.138888888891 | 44792.14234953704 | 44792.142361111109 | 44792.145821759259 | 44792.145833333336 | 44792.149293981478 | 44792.149305555555 | 44792.152766203704 | 44792.152777777781 | 44792.156238425923 | 44792.15625 | 44792.159710648149 | 44792.159722222219 | 44792.163182870368 | 44792.163194444445 | 44792.166655092595 | 44792.166666666664 | 44792.170127314814 | 44792.170138888891 | 44792.17359953704 | 44792.173611111109 | 44792.177071759259 | 44792.177083333336 | 44792.180543981478 | 44792.180555555555 | 44792.184016203704 | 44792.184027777781 | 44792.187488425923 | 44792.1875 | 44792.190960648149 | 44792.190972222219 | 44792.194432870368 | 44792.194444444445 | 44792.197905092595 | 44792.197916666664 | 44792.201377314814 | 44792.201388888891 | 44792.20484953704 | 44792.204861111109 | 44792.208321759259 | 44792.208333333336 | 44792.211793981478 | 44792.211805555555 | 44792.215266203704 | 44792.215277777781 | 44792.218738425923 | 44792.21875 | 44792.222210648149 | 44792.222222222219 | 44792.225682870368 | 44792.225694444445 | 44792.229155092595 | 44792.229166666664 | 44792.232627314814 | 44792.232638888891 | 44792.23609953704 | 44792.236111111109 | 44792.239571759259 | 44792.239583333336 | 44792.243043981478 | 44792.243055555555 | 44792.246516203704 | 44792.246527777781 | 44792.249988425923 | 44792.25 | 44792.253460648149 | 44792.253472222219 | 44792.256932870368 | 44792.256944444445 | 44792.260405092595 | 44792.260416666664 | 44792.263877314814 | 44792.263888888891 | 44792.26734953704 | 44792.267361111109 | 44792.270821759259 | 44792.270833333336 | 44792.274293981478 | 44792.274305555555 | 44792.277766203704 | 44792.277777777781 | 44792.281238425923 | 44792.28125 | 44792.284710648149 | 44792.284722222219 | 44792.288182870368 | 44792.288194444445 | 44792.291655092595 | 44792.291666666664 | 44792.295127314814 | 44792.295138888891 | 44792.29859953704 | 44792.298611111109 | 44792.302071759259 | 44792.302083333336 | 44792.305543981478 | 44792.305555555555 | 44792.309016203704 | 44792.309027777781 | 44792.312488425923 | 44792.3125 | 44792.315960648149 | 44792.315972222219 | 44792.319432870368 | 44792.319444444445 | 44792.322905092595 | 44792.322916666664 | 44792.326377314814 | 44792.326388888891 | 44792.32984953704 | 44792.329861111109 | 44792.333321759259 | 44792.333333333336 | 44792.336793981478 | 44792.336805555555 | 44792.340266203704 | 44792.340277777781 | 44792.343738425923 | 44792.34375 | 44792.347210648149 | 44792.347222222219 | 44792.350682870368 | 44792.350694444445 | 44792.354155092595 | 44792.354166666664 | 44792.357627314814 | 44792.357638888891 | 44792.36109953704 | 44792.361111111109 | 44792.364571759259 | 44792.364583333336 | 44792.368043981478 | 44792.368055555555 | 44792.371516203704 | 44792.371527777781 | 44792.374988425923 | 44792.375 | 44792.378460648149 | 44792.378472222219 | 44792.381932870368 | 44792.381944444445 | 44792.385405092595 | 44792.385416666664 | 44792.388877314814 | 44792.388888888891 | 44792.39234953704 | 44792.392361111109 | 44792.395821759259 | 44792.395833333336 | 44792.399293981478 | 44792.399305555555 | 44792.402766203704 | 44792.402777777781 | 44792.406238425923 | 44792.40625 | 44792.409710648149 | 44792.409722222219 | 44792.413182870368 | 44792.413194444445 | 44792.416655092595 | 44792.416666666664 | 44792.420127314814 | 44792.420138888891 | 44792.42359953704 | 44792.423611111109 | 44792.427071759259 | 44792.427083333336 | 44792.430543981478 | 44792.430555555555 | 44792.434016203704 | 44792.434027777781 | 44792.437488425923 | 44792.4375 | 44792.440960648149 | 44792.440972222219 | 44792.444432870368 | 44792.444444444445 | 44792.447905092595 | 44792.447916666664 | 44792.451377314814 | 44792.451388888891 | 44792.45484953704 | 44792.454861111109 | 44792.458321759259 | 44792.458333333336 | 44792.461793981478 | 44792.461805555555 | 44792.465266203704 | 44792.465277777781 | 44792.468738425923 | 44792.46875 | 44792.472210648149 | 44792.472222222219 | 44792.475682870368 | 44792.475694444445 | 44792.479155092595 | 44792.479166666664 | 44792.482627314814 | 44792.482638888891 | 44792.48609953704 | 44792.486111111109 | 44792.489571759259 | 44792.489583333336 | 44792.493043981478 | 44792.493055555555 | 44792.496516203704 | 44792.496527777781 | 44792.499988425923 | 44792.5 | 44792.503460648149 | 44792.503472222219 | 44792.506932870368 | 44792.506944444445 | 44792.510405092595 | 44792.510416666664 | 44792.513877314814 | 44792.513888888891 | 44792.51734953704 | 44792.517361111109 | 44792.520821759259 | 44792.520833333336 | 44792.524293981478 | 44792.524305555555 | 44792.527766203704 | 44792.527777777781 | 44792.531238425923 | 44792.53125 | 44792.534710648149 | 44792.534722222219 | 44792.538182870368 | 44792.538194444445 | 44792.541655092595 | 44792.541666666664 | 44792.545127314814 | 44792.545138888891 | 44792.54859953704 | 44792.548611111109 | 44792.552071759259 | 44792.552083333336 | 44792.555543981478 | 44792.555555555555 | 44792.559016203704 | 44792.559027777781 | 44792.562488425923 | 44792.5625 | 44792.565960648149 | 44792.565972222219 | 44792.569432870368 | 44792.569444444445 | 44792.572905092595 | 44792.572916666664 | 44792.576377314814 | 44792.576388888891 | 44792.57984953704 | 44792.579861111109 | 44792.583321759259 | 44792.583333333336 | 44792.586793981478 | 44792.586805555555 | 44792.590266203704 | 44792.590277777781 | 44792.593738425923 | 44792.59375 | 44792.597210648149 | 44792.597222222219 | 44792.600682870368 | 44792.600694444445 | 44792.604155092595 | 44792.604166666664 | 44792.607627314814 | 44792.607638888891 | 44792.61109953704 | 44792.611111111109 | 44792.614571759259 | 44792.614583333336 | 44792.618043981478 | 44792.618055555555 | 44792.621516203704 | 44792.621527777781 | 44792.624988425923 | 44792.625 | 44792.628460648149 | 44792.628472222219 | 44792.631932870368 | 44792.631944444445 | 44792.635405092595 | 44792.635416666664 | 44792.638877314814 | 44792.638888888891 | 44792.64234953704 | 44792.642361111109 | 44792.645821759259 | 44792.645833333336 | 44792.649293981478 | 44792.649305555555 | 44792.652766203704 | 44792.652777777781 | 44792.656238425923 | 44792.65625 | 44792.659710648149 | 44792.659722222219 | 44792.663182870368 | 44792.663194444445 | 44792.666655092595 | 44792.666666666664 | 44792.670127314814 | 44792.670138888891 | 44792.67359953704 | 44792.673611111109 | 44792.677071759259 | 44792.677083333336 | 44792.680543981478 | 44792.680555555555 | 44792.684016203704 | 44792.684027777781 | 44792.687488425923 | 44792.6875 | 44792.690960648149 | 44792.690972222219 | 44792.694432870368 | 44792.694444444445 | 44792.697905092595 | 44792.697916666664 | 44792.701377314814 | 44792.701388888891 | 44792.70484953704 | 44792.704861111109 | 44792.708321759259 | 44792.708333333336 | 44792.711793981478 | 44792.711805555555 | 44792.715266203704 | 44792.715277777781 | 44792.718738425923 | 44792.71875 | 44792.722210648149 | 44792.722222222219 | 44792.725682870368 | 44792.725694444445 | 44792.729155092595 | 44792.729166666664 | 44792.732627314814 | 44792.732638888891 | 44792.73609953704 | 44792.736111111109 | 44792.739571759259 | 44792.739583333336 | 44792.743043981478 | 44792.743055555555 | 44792.746516203704 | 44792.746527777781 | 44792.749988425923 | 44792.75 | 44792.753460648149 | 44792.753472222219 | 44792.756932870368 | 44792.756944444445 | 44792.760405092595 | 44792.760416666664 | 44792.763877314814 | 44792.763888888891 | 44792.76734953704 | 44792.767361111109 | 44792.770821759259 | 44792.770833333336 | 44792.774293981478 | 44792.774305555555 | 44792.777766203704 | 44792.777777777781 | 44792.781238425923 | 44792.78125 | 44792.784710648149 | 44792.784722222219 | 44792.788182870368 | 44792.788194444445 | 44792.791655092595 | 44792.791666666664 | 44792.795127314814 | 44792.795138888891 | 44792.79859953704 | 44792.798611111109 | 44792.802071759259 | 44792.802083333336 | 44792.805543981478 | 44792.805555555555 | 44792.809016203704 | 44792.809027777781 | 44792.812488425923 | 44792.8125 | 44792.815960648149 | 44792.815972222219 | 44792.819432870368 | 44792.819444444445 | 44792.822905092595 | 44792.822916666664 | 44792.826377314814 | 44792.826388888891 | 44792.82984953704 | 44792.829861111109 | 44792.833321759259 | 44792.833333333336 | 44792.836793981478 | 44792.836805555555 | 44792.840266203704 | 44792.840277777781 | 44792.843738425923 | 44792.84375 | 44792.847210648149 | 44792.847222222219 | 44792.850682870368 | 44792.850694444445 | 44792.854155092595 | 44792.854166666664 | 44792.857627314814 | 44792.857638888891 | 44792.86109953704 | 44792.861111111109 | 44792.864571759259 | 44792.864583333336 | 44792.868043981478 | 44792.868055555555 | 44792.871516203704 | 44792.871527777781 | 44792.874988425923 | 44792.875 | 44792.878460648149 | 44792.878472222219 | 44792.881932870368 | 44792.881944444445 | 44792.885405092595 | 44792.885416666664 | 44792.888877314814 | 44792.888888888891 | 44792.89234953704 | 44792.892361111109 | 44792.895821759259 | 44792.895833333336 | 44792.899293981478 | 44792.899305555555 | 44792.902766203704 | 44792.902777777781 | 44792.906238425923 | 44792.90625 | 44792.909710648149 | 44792.909722222219 | 44792.913182870368 | 44792.913194444445 | 44792.916655092595 | 44792.916666666664 | 44792.920127314814 | 44792.920138888891 | 44792.92359953704 | 44792.923611111109 | 44792.927071759259 | 44792.927083333336 | 44792.930543981478 | 44792.930555555555 | 44792.934016203704 | 44792.934027777781 | 44792.937488425923 | 44792.9375 | 44792.940960648149 | 44792.940972222219 | 44792.944432870368 | 44792.944444444445 | 44792.947905092595 | 44792.947916666664 | 44792.951377314814 | 44792.951388888891 | 44792.95484953704 | 44792.954861111109 | 44792.958321759259 | 44792.958333333336 | 44792.961793981478 | 44792.961805555555 | 44792.965266203704 | 44792.965277777781 | 44792.968738425923 | 44792.96875 | 44792.972210648149 | 44792.972222222219 | 44792.975682870368 | 44792.975694444445 | 44792.979155092595 | 44792.979166666664 | 44792.982627314814 | 44792.982638888891 | 44792.98609953704 | 44792.986111111109 | 44792.989571759259 | 44792.989583333336 | 44792.993043981478 | 44792.993055555555 | 44792.996516203704 | 44792.996527777781 | 44792.999988425923
Day Ahead Energy | 74.9 | 74.9 | 69.97 | 69.97 | 68.3 | 68.3 | 67.63 | 67.63 | 70.42 | 70.42 | 71.6 | 71.6 | 73.71 | 73.71 | 74.19 | 74.19 | 79.86 | 79.86 | 89.4 | 89.4 | 102.82 | 102.82 | 94.26 | 94.26 | 102.73 | 102.73 | 111.52 | 111.52 | 128.42 | 128.42 | 137.89 | 137.89 | 116.11 | 116.11 | 104.85 | 104.85 | 100.66 | 100.66 | 95.23 | 95.23 | 77.75 | 77.75 | 77.29 | 77.29 | 71.96 | 71.96 | 65.16 | 65.16
Regulation Up | 1 | 1 | 1 | 1 | 1 | 1 | 1.28 | 1.28 | 1.81 | 1.81 | 6.51 | 6.51 | 3.69 | 3.69 | 6.51 | 6.51 | 10.91 | 10.91 | 19.88 | 19.88 | 15.01 | 15.01 | 17.69 | 17.69 | 23.25 | 23.25 | 18.88 | 18.88 | 39.17 | 39.17 | 39.26 | 39.26 | 22.88 | 22.88 | 20.14 | 20.14 | 17.02 | 17.02 | 10.59 | 10.59 | 1 | 1 | 1 | 1 | 1 | 1 | 3.15 | 3.15
Regulation Down | 0.99 | 0.99 | 0.5 | 0.5 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.49 | 0.49 | 1.7 | 1.7 | 3.5 | 3.5 | 8.75 | 8.75 | 2.28 | 2.28 | 3.29 | 3.29 | 4.64 | 4.64 | 7.2 | 7.2 | 8.25 | 8.25 | 12 | 12 | 7.01 | 7.01 | 10 | 10 | 4 | 4 | 7.01 | 7.01 | 7.11 | 7.11 | 7.01 | 7.01 | 4.49 | 4.49 | 3.81 | 3.81
Responsive Reserve | 1 | 1 | 1 | 1 | 0.89 | 0.89 | 0.98 | 0.98 | 1 | 1 | 1.69 | 1.69 | 1.69 | 1.69 | 1.69 | 1.69 | 2.69 | 2.69 | 4.39 | 4.39 | 6 | 6 | 9.69 | 9.69 | 15.26 | 15.26 | 14.69 | 14.69 | 37.17 | 37.17 | 37.26 | 37.26 | 18 | 18 | 18 | 18 | 12.02 | 12.02 | 10.2 | 10.2 | 4.59 | 4.59 | 3 | 3 | 2.71 | 2.71 | 1.15 | 1.15
Chart: Utilization (%)
| 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Regulation Up | 1.145 | 1.145 | 7.1321 | 7.1321 | 17.2393 | 17.2393 | 12.302 | 12.302 | 33.4814 | 33.4814 | 15.4446 | 15.4446 | 18.2765 | 18.2765 | 0.95123 | 0.95123 | 13.1833 | 13.1833 | 12.0505 | 12.0505 | 24.82 | 24.82 | 27.0999 | 27.0999 | 10.9888 | 10.9888 | 11.6129 | 11.6129 | 9.9729 | 9.9729 | 18.1917 | 18.1917 | 15.5604 | 15.5604 | 30.3439 | 30.3439 | 17.9795 | 17.9795 | 17.1252 | 17.1252 | 4.8473 | 4.8473 | 4.8135 | 4.8135 | 18.1575 | 18.1575 | 26.2201 | 26.2201
Regulation Down | 41.0175 | 41.0175 | 38.3779 | 38.3779 | 27.4546 | 27.4546 | 28.1094 | 28.1094 | 15.4781 | 15.4781 | 27.1515 | 27.1515 | 29.734 | 29.734 | 67.3098 | 67.3098 | 26.0572 | 26.0572 | 11.4997 | 11.4997 | 10.6129 | 10.6129 | 8.6993 | 8.6993 | 17.8853 | 17.8853 | 37.996 | 37.996 | 40.9537 | 40.9537 | 17.0485 | 17.0485 | 23.9363 | 23.9363 | 20.1312 | 20.1312 | 16.7703 | 16.7703 | 28.3936 | 28.3936 | 17.8246 | 17.8246 | 18.676 | 18.676 | 15.2715 | 15.2715 | 16.8734 | 16.8734
Responsive Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: Award (MW)
| 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Day Ahead Energy Sale | 95 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 190 | 115.7 | 115.7 | 0 | 0 | 0 | 0 | 76 | 76 | 0 | 0 | 0 | 0 | 95 | 95 | 0 | 0
Day Ahead Energy Purchase | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 95 | 0 | 0 | 0 | 0 | 190 | 190 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Real Time Energy Sale | 0 | 0 | 0 | 0 | 0 | 0 | 45.4 | 45.4 | 0 | 0 | 189.9 | 189.9 | 190 | 190 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Real Time Energy Purchase | 0 | 0 | 189.9 | 189.9 | 190 | 190 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 190 | 0 | 0 | 0 | 0 | 95 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 13.6 | 13.6 | 0 | 0 | 0 | 0
Chart: Award (MW)
| 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Regulation Up (Load) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94.9 | 94.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.1 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulation Up (Gen.) | 0 | 0 | 0 | 0 | 0 | 0 | 144.5 | 144.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 189.9 | 189.9 | 190 | 190 | 0 | 0 | 190 | 190 | 189.9 | 189.9 | 190 | 190 | 0 | 0 | 74.2 | 74.2 | 0 | 0 | 190 | 190 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulation Down (Load) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 190 | 176.3 | 176.3 | 0 | 0 | 190 | 190
Regulation Down (Gen.) | 95 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.9 | 75.9 | 0 | 0 | 0 | 0 | 95 | 95 | 0 | 0
Responsive Reserve (Load) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73.8 | 73.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Responsive Reserve (Gen.) | 0 | 0 | 38 | 38 | 38 | 38 | 0 | 0 | 37.9 | 37.9 | 0 | 0 | 0 | 0 | 37.9 | 37.9 | 38 | 38 | 0 | 0 | 0 | 0 | 37.9 | 37.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 38 | 0 | 0 | 38 | 38 | 38 | 38 | 38 | 38 | 0 | 0 | 38 | 38
Notes: Four minutes.
In big, bold letters: this is a best-case scenario. We do not anticipate these profits to be realized in practice. Consider these results as upper bounds on profit.
Show the base perfect foresight simulation (no limit on cycles) and discuss the behavior. Point out how ancillary services are coordinated with respect to price and utilization to take advantage of layering charging and discharging behavior with real-time prices.

## Slide 32
Perfect Foresight Profit: $57.54MM ($25.23/kW-month)*
*These are preliminary theoretical maxima, not attainable for projects
Chart: Revenue
| Day Ahead Energy | Real Time Energy | Regulation Up | Regulation Down | Responsive Reserve
revenue | 15.8982 | 25.8053 | 19.252 | 5.8766 | 5.614
Chart: Cost
| Day Ahead Energy | Real Time Energy
cost | 4.3251 | 10.576
Notes: Four minutes.
In big, bold letters: this is a best-case scenario. We do not anticipate these profits to be realized in practice. Consider these results as upper bounds on profit.
Show the base perfect foresight simulation (no limit on cycles) and discuss the behavior. Point out how ancillary services are coordinated with respect to price and utilization to take advantage of layering charging and discharging behavior with real-time prices.

## Slide 33
Effect of Cycling Limits on Profit*
Chart: Discharge Cycles
| 365 | 365
 | 0 | 53.706
 | 53.706 | 53.706
Profit (MM USD) | 57.5449 | 56.9883 | 56.2853 | 55.3191 | 54.5143 | 53.6936 | 52.9006 | 52.0004 | 51.3362 | 50.5112 | 49.6726
93% of max profit using 365 cycles
365 cycles
As cycle limit increases, profit increases
*These are preliminary theoretical maxima, not attainable for projects
Notes: Three minutes.
Show the effects of varying hurdle price on (1) the number of cycles discharged over the study period and (2) the profit achieved over the year.

## Slide 34
Configurable Participation Revenue (No Throughput Cost)*
Chart: Revenue Sources by Market Participation
| ✅ Day-Ahead Energy ✅ Real-Time Energy ✅ Regulation Up ✅ Regulation Down ✅ Responsive Reserve | ❌ Day-Ahead Energy ✅ Real-Time Energy ✅ Regulation Up ✅ Regulation Down ✅ Responsive Reserve | ✅ Day-Ahead Energy ✅ Real-Time Energy ❌ Regulation Up ❌ Regulation Down ❌ Responsive Reserve | ❌ Day-Ahead Energy ✅ Real-Time Energy ❌ Regulation Up ❌ Regulation Down ✅ Responsive Reserve | ✅ Day-Ahead Energy (10% Limit) ✅ Real-Time Energy ❌ Regulation Up ❌ Regulation Down ❌ Responsive Reserve
Day Ahead Energy | 15.8982 | 0 | 20.5268 | 0 | 3.5204
Real Time Energy | 25.8053 | 20.3439 | 16.6864 | 21.2755 | 18.4724
Regulation Up | 19.252 | 24.1814 | 0 | 0 | 0
Regulation Down | 5.8766 | 5.5656 | 0 | 0 | 0
Responsive Reserve | 5.614 | 5.7861 | 0 | 13.7516 | 0
*These are preliminary theoretical maxima, not attainable for projects
Notes: Four minutes.
Show the effect of changing market allocations, e.g., (1) turn off day-ahead energy participation, (2) turn off all ancillary service participation, (3) only do real-time and responsive reserve, (4) only do 10% day-ahead energy and rest real-time. Show pie charts of cost/revenue and total profit for each scenario.

## Slide 35
Worst-case Ancillary Service Limits ($50/MWh Throughput)
Chart: Price (USD/MWh)
| 44792 | 44792.003460648149 | 44792.003472222219 | 44792.006932870368 | 44792.006944444445 | 44792.010405092595 | 44792.010416666664 | 44792.013877314814 | 44792.013888888891 | 44792.01734953704 | 44792.017361111109 | 44792.020821759259 | 44792.020833333336 | 44792.024293981478 | 44792.024305555555 | 44792.027766203704 | 44792.027777777781 | 44792.031238425923 | 44792.03125 | 44792.034710648149 | 44792.034722222219 | 44792.038182870368 | 44792.038194444445 | 44792.041655092595 | 44792.041666666664 | 44792.045127314814 | 44792.045138888891 | 44792.04859953704 | 44792.048611111109 | 44792.052071759259 | 44792.052083333336 | 44792.055543981478 | 44792.055555555555 | 44792.059016203704 | 44792.059027777781 | 44792.062488425923 | 44792.0625 | 44792.065960648149 | 44792.065972222219 | 44792.069432870368 | 44792.069444444445 | 44792.072905092595 | 44792.072916666664 | 44792.076377314814 | 44792.076388888891 | 44792.07984953704 | 44792.079861111109 | 44792.083321759259 | 44792.083333333336 | 44792.086793981478 | 44792.086805555555 | 44792.090266203704 | 44792.090277777781 | 44792.093738425923 | 44792.09375 | 44792.097210648149 | 44792.097222222219 | 44792.100682870368 | 44792.100694444445 | 44792.104155092595 | 44792.104166666664 | 44792.107627314814 | 44792.107638888891 | 44792.11109953704 | 44792.111111111109 | 44792.114571759259 | 44792.114583333336 | 44792.118043981478 | 44792.118055555555 | 44792.121516203704 | 44792.121527777781 | 44792.124988425923 | 44792.125 | 44792.128460648149 | 44792.128472222219 | 44792.131932870368 | 44792.131944444445 | 44792.135405092595 | 44792.135416666664 | 44792.138877314814 | 44792.138888888891 | 44792.14234953704 | 44792.142361111109 | 44792.145821759259 | 44792.145833333336 | 44792.149293981478 | 44792.149305555555 | 44792.152766203704 | 44792.152777777781 | 44792.156238425923 | 44792.15625 | 44792.159710648149 | 44792.159722222219 | 44792.163182870368 | 44792.163194444445 | 44792.166655092595 | 44792.166666666664 | 44792.170127314814 | 44792.170138888891 | 44792.17359953704 | 44792.173611111109 | 44792.177071759259 | 44792.177083333336 | 44792.180543981478 | 44792.180555555555 | 44792.184016203704 | 44792.184027777781 | 44792.187488425923 | 44792.1875 | 44792.190960648149 | 44792.190972222219 | 44792.194432870368 | 44792.194444444445 | 44792.197905092595 | 44792.197916666664 | 44792.201377314814 | 44792.201388888891 | 44792.20484953704 | 44792.204861111109 | 44792.208321759259 | 44792.208333333336 | 44792.211793981478 | 44792.211805555555 | 44792.215266203704 | 44792.215277777781 | 44792.218738425923 | 44792.21875 | 44792.222210648149 | 44792.222222222219 | 44792.225682870368 | 44792.225694444445 | 44792.229155092595 | 44792.229166666664 | 44792.232627314814 | 44792.232638888891 | 44792.23609953704 | 44792.236111111109 | 44792.239571759259 | 44792.239583333336 | 44792.243043981478 | 44792.243055555555 | 44792.246516203704 | 44792.246527777781 | 44792.249988425923 | 44792.25 | 44792.253460648149 | 44792.253472222219 | 44792.256932870368 | 44792.256944444445 | 44792.260405092595 | 44792.260416666664 | 44792.263877314814 | 44792.263888888891 | 44792.26734953704 | 44792.267361111109 | 44792.270821759259 | 44792.270833333336 | 44792.274293981478 | 44792.274305555555 | 44792.277766203704 | 44792.277777777781 | 44792.281238425923 | 44792.28125 | 44792.284710648149 | 44792.284722222219 | 44792.288182870368 | 44792.288194444445 | 44792.291655092595 | 44792.291666666664 | 44792.295127314814 | 44792.295138888891 | 44792.29859953704 | 44792.298611111109 | 44792.302071759259 | 44792.302083333336 | 44792.305543981478 | 44792.305555555555 | 44792.309016203704 | 44792.309027777781 | 44792.312488425923 | 44792.3125 | 44792.315960648149 | 44792.315972222219 | 44792.319432870368 | 44792.319444444445 | 44792.322905092595 | 44792.322916666664 | 44792.326377314814 | 44792.326388888891 | 44792.32984953704 | 44792.329861111109 | 44792.333321759259 | 44792.333333333336 | 44792.336793981478 | 44792.336805555555 | 44792.340266203704 | 44792.340277777781 | 44792.343738425923 | 44792.34375 | 44792.347210648149 | 44792.347222222219 | 44792.350682870368 | 44792.350694444445 | 44792.354155092595 | 44792.354166666664 | 44792.357627314814 | 44792.357638888891 | 44792.36109953704 | 44792.361111111109 | 44792.364571759259 | 44792.364583333336 | 44792.368043981478 | 44792.368055555555 | 44792.371516203704 | 44792.371527777781 | 44792.374988425923 | 44792.375 | 44792.378460648149 | 44792.378472222219 | 44792.381932870368 | 44792.381944444445 | 44792.385405092595 | 44792.385416666664 | 44792.388877314814 | 44792.388888888891 | 44792.39234953704 | 44792.392361111109 | 44792.395821759259 | 44792.395833333336 | 44792.399293981478 | 44792.399305555555 | 44792.402766203704 | 44792.402777777781 | 44792.406238425923 | 44792.40625 | 44792.409710648149 | 44792.409722222219 | 44792.413182870368 | 44792.413194444445 | 44792.416655092595 | 44792.416666666664 | 44792.420127314814 | 44792.420138888891 | 44792.42359953704 | 44792.423611111109 | 44792.427071759259 | 44792.427083333336 | 44792.430543981478 | 44792.430555555555 | 44792.434016203704 | 44792.434027777781 | 44792.437488425923 | 44792.4375 | 44792.440960648149 | 44792.440972222219 | 44792.444432870368 | 44792.444444444445 | 44792.447905092595 | 44792.447916666664 | 44792.451377314814 | 44792.451388888891 | 44792.45484953704 | 44792.454861111109 | 44792.458321759259 | 44792.458333333336 | 44792.461793981478 | 44792.461805555555 | 44792.465266203704 | 44792.465277777781 | 44792.468738425923 | 44792.46875 | 44792.472210648149 | 44792.472222222219 | 44792.475682870368 | 44792.475694444445 | 44792.479155092595 | 44792.479166666664 | 44792.482627314814 | 44792.482638888891 | 44792.48609953704 | 44792.486111111109 | 44792.489571759259 | 44792.489583333336 | 44792.493043981478 | 44792.493055555555 | 44792.496516203704 | 44792.496527777781 | 44792.499988425923 | 44792.5 | 44792.503460648149 | 44792.503472222219 | 44792.506932870368 | 44792.506944444445 | 44792.510405092595 | 44792.510416666664 | 44792.513877314814 | 44792.513888888891 | 44792.51734953704 | 44792.517361111109 | 44792.520821759259 | 44792.520833333336 | 44792.524293981478 | 44792.524305555555 | 44792.527766203704 | 44792.527777777781 | 44792.531238425923 | 44792.53125 | 44792.534710648149 | 44792.534722222219 | 44792.538182870368 | 44792.538194444445 | 44792.541655092595 | 44792.541666666664 | 44792.545127314814 | 44792.545138888891 | 44792.54859953704 | 44792.548611111109 | 44792.552071759259 | 44792.552083333336 | 44792.555543981478 | 44792.555555555555 | 44792.559016203704 | 44792.559027777781 | 44792.562488425923 | 44792.5625 | 44792.565960648149 | 44792.565972222219 | 44792.569432870368 | 44792.569444444445 | 44792.572905092595 | 44792.572916666664 | 44792.576377314814 | 44792.576388888891 | 44792.57984953704 | 44792.579861111109 | 44792.583321759259 | 44792.583333333336 | 44792.586793981478 | 44792.586805555555 | 44792.590266203704 | 44792.590277777781 | 44792.593738425923 | 44792.59375 | 44792.597210648149 | 44792.597222222219 | 44792.600682870368 | 44792.600694444445 | 44792.604155092595 | 44792.604166666664 | 44792.607627314814 | 44792.607638888891 | 44792.61109953704 | 44792.611111111109 | 44792.614571759259 | 44792.614583333336 | 44792.618043981478 | 44792.618055555555 | 44792.621516203704 | 44792.621527777781 | 44792.624988425923 | 44792.625 | 44792.628460648149 | 44792.628472222219 | 44792.631932870368 | 44792.631944444445 | 44792.635405092595 | 44792.635416666664 | 44792.638877314814 | 44792.638888888891 | 44792.64234953704 | 44792.642361111109 | 44792.645821759259 | 44792.645833333336 | 44792.649293981478 | 44792.649305555555 | 44792.652766203704 | 44792.652777777781 | 44792.656238425923 | 44792.65625 | 44792.659710648149 | 44792.659722222219 | 44792.663182870368 | 44792.663194444445 | 44792.666655092595 | 44792.666666666664 | 44792.670127314814 | 44792.670138888891 | 44792.67359953704 | 44792.673611111109 | 44792.677071759259 | 44792.677083333336 | 44792.680543981478 | 44792.680555555555 | 44792.684016203704 | 44792.684027777781 | 44792.687488425923 | 44792.6875 | 44792.690960648149 | 44792.690972222219 | 44792.694432870368 | 44792.694444444445 | 44792.697905092595 | 44792.697916666664 | 44792.701377314814 | 44792.701388888891 | 44792.70484953704 | 44792.704861111109 | 44792.708321759259 | 44792.708333333336 | 44792.711793981478 | 44792.711805555555 | 44792.715266203704 | 44792.715277777781 | 44792.718738425923 | 44792.71875 | 44792.722210648149 | 44792.722222222219 | 44792.725682870368 | 44792.725694444445 | 44792.729155092595 | 44792.729166666664 | 44792.732627314814 | 44792.732638888891 | 44792.73609953704 | 44792.736111111109 | 44792.739571759259 | 44792.739583333336 | 44792.743043981478 | 44792.743055555555 | 44792.746516203704 | 44792.746527777781 | 44792.749988425923 | 44792.75 | 44792.753460648149 | 44792.753472222219 | 44792.756932870368 | 44792.756944444445 | 44792.760405092595 | 44792.760416666664 | 44792.763877314814 | 44792.763888888891 | 44792.76734953704 | 44792.767361111109 | 44792.770821759259 | 44792.770833333336 | 44792.774293981478 | 44792.774305555555 | 44792.777766203704 | 44792.777777777781 | 44792.781238425923 | 44792.78125 | 44792.784710648149 | 44792.784722222219 | 44792.788182870368 | 44792.788194444445 | 44792.791655092595 | 44792.791666666664 | 44792.795127314814 | 44792.795138888891 | 44792.79859953704 | 44792.798611111109 | 44792.802071759259 | 44792.802083333336 | 44792.805543981478 | 44792.805555555555 | 44792.809016203704 | 44792.809027777781 | 44792.812488425923 | 44792.8125 | 44792.815960648149 | 44792.815972222219 | 44792.819432870368 | 44792.819444444445 | 44792.822905092595 | 44792.822916666664 | 44792.826377314814 | 44792.826388888891 | 44792.82984953704 | 44792.829861111109 | 44792.833321759259 | 44792.833333333336 | 44792.836793981478 | 44792.836805555555 | 44792.840266203704 | 44792.840277777781 | 44792.843738425923 | 44792.84375 | 44792.847210648149 | 44792.847222222219 | 44792.850682870368 | 44792.850694444445 | 44792.854155092595 | 44792.854166666664 | 44792.857627314814 | 44792.857638888891 | 44792.86109953704 | 44792.861111111109 | 44792.864571759259 | 44792.864583333336 | 44792.868043981478 | 44792.868055555555 | 44792.871516203704 | 44792.871527777781 | 44792.874988425923 | 44792.875 | 44792.878460648149 | 44792.878472222219 | 44792.881932870368 | 44792.881944444445 | 44792.885405092595 | 44792.885416666664 | 44792.888877314814 | 44792.888888888891 | 44792.89234953704 | 44792.892361111109 | 44792.895821759259 | 44792.895833333336 | 44792.899293981478 | 44792.899305555555 | 44792.902766203704 | 44792.902777777781 | 44792.906238425923 | 44792.90625 | 44792.909710648149 | 44792.909722222219 | 44792.913182870368 | 44792.913194444445 | 44792.916655092595 | 44792.916666666664 | 44792.920127314814 | 44792.920138888891 | 44792.92359953704 | 44792.923611111109 | 44792.927071759259 | 44792.927083333336 | 44792.930543981478 | 44792.930555555555 | 44792.934016203704 | 44792.934027777781 | 44792.937488425923 | 44792.9375 | 44792.940960648149 | 44792.940972222219 | 44792.944432870368 | 44792.944444444445 | 44792.947905092595 | 44792.947916666664 | 44792.951377314814 | 44792.951388888891 | 44792.95484953704 | 44792.954861111109 | 44792.958321759259 | 44792.958333333336 | 44792.961793981478 | 44792.961805555555 | 44792.965266203704 | 44792.965277777781 | 44792.968738425923 | 44792.96875 | 44792.972210648149 | 44792.972222222219 | 44792.975682870368 | 44792.975694444445 | 44792.979155092595 | 44792.979166666664 | 44792.982627314814 | 44792.982638888891 | 44792.98609953704 | 44792.986111111109 | 44792.989571759259 | 44792.989583333336 | 44792.993043981478 | 44792.993055555555 | 44792.996516203704 | 44792.996527777781 | 44792.999988425923
Day Ahead Energy | 74.9 | 74.9 | 69.97 | 69.97 | 68.3 | 68.3 | 67.63 | 67.63 | 70.42 | 70.42 | 71.6 | 71.6 | 73.71 | 73.71 | 74.19 | 74.19 | 79.86 | 79.86 | 89.4 | 89.4 | 102.82 | 102.82 | 94.26 | 94.26 | 102.73 | 102.73 | 111.52 | 111.52 | 128.42 | 128.42 | 137.89 | 137.89 | 116.11 | 116.11 | 104.85 | 104.85 | 100.66 | 100.66 | 95.23 | 95.23 | 77.75 | 77.75 | 77.29 | 77.29 | 71.96 | 71.96 | 65.16 | 65.16
Regulation Up | 1 | 1 | 1 | 1 | 1 | 1 | 1.28 | 1.28 | 1.81 | 1.81 | 6.51 | 6.51 | 3.69 | 3.69 | 6.51 | 6.51 | 10.91 | 10.91 | 19.88 | 19.88 | 15.01 | 15.01 | 17.69 | 17.69 | 23.25 | 23.25 | 18.88 | 18.88 | 39.17 | 39.17 | 39.26 | 39.26 | 22.88 | 22.88 | 20.14 | 20.14 | 17.02 | 17.02 | 10.59 | 10.59 | 1 | 1 | 1 | 1 | 1 | 1 | 3.15 | 3.15
Regulation Down | 0.99 | 0.99 | 0.5 | 0.5 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.49 | 0.49 | 1.7 | 1.7 | 3.5 | 3.5 | 8.75 | 8.75 | 2.28 | 2.28 | 3.29 | 3.29 | 4.64 | 4.64 | 7.2 | 7.2 | 8.25 | 8.25 | 12 | 12 | 7.01 | 7.01 | 10 | 10 | 4 | 4 | 7.01 | 7.01 | 7.11 | 7.11 | 7.01 | 7.01 | 4.49 | 4.49 | 3.81 | 3.81
Responsive Reserve | 1 | 1 | 1 | 1 | 0.89 | 0.89 | 0.98 | 0.98 | 1 | 1 | 1.69 | 1.69 | 1.69 | 1.69 | 1.69 | 1.69 | 2.69 | 2.69 | 4.39 | 4.39 | 6 | 6 | 9.69 | 9.69 | 15.26 | 15.26 | 14.69 | 14.69 | 37.17 | 37.17 | 37.26 | 37.26 | 18 | 18 | 18 | 18 | 12.02 | 12.02 | 10.2 | 10.2 | 4.59 | 4.59 | 3 | 3 | 2.71 | 2.71 | 1.15 | 1.15
Chart: Award (MW)
| 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Day Ahead Energy Sale | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 183.2 | 183.2 | 190 | 190 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Day Ahead Energy Purchase | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Real Time Energy Sale | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Real Time Energy Purchase | 0 | 0 | 190 | 190 | 182.3 | 182.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: Award (MW)
| 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Regulation Up (Load) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulation Up (Gen.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulation Down (Load) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Regulation Down (Gen.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Responsive Reserve (Load) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Responsive Reserve (Gen.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: Max Profit with Historical AS Utilization: $57.54MM ($25.23/kW-month)
| Day Ahead Energy | Real Time Energy | Regulation Up | Regulation Down | Responsive Reserve
revenue | 15.8982 | 25.8053 | 19.252 | 5.8766 | 5.614
Chart: Max Profit with Worst-Case AS (Gen.) Constraints: $31.49MM ($13.81/kW-month)
| Day Ahead | Real Time | Regulation Up | Regulation Down | Responsive Reserve
revenue | 18.8947 | 16.1181 | 0.48172 | 2.034 | 0.2319
Throughput cost
$0/MWh
Throughput cost
$50/MWh
Chart: Utilization (%)
| 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Regulation Up | 1.145 | 1.145 | 7.1321 | 7.1321 | 17.2393 | 17.2393 | 12.302 | 12.302 | 33.4814 | 33.4814 | 15.4446 | 15.4446 | 18.2765 | 18.2765 | 0.95123 | 0.95123 | 13.1833 | 13.1833 | 12.0505 | 12.0505 | 24.82 | 24.82 | 27.0999 | 27.0999 | 10.9888 | 10.9888 | 11.6129 | 11.6129 | 9.9729 | 9.9729 | 18.1917 | 18.1917 | 15.5604 | 15.5604 | 30.3439 | 30.3439 | 17.9795 | 17.9795 | 17.1252 | 17.1252 | 4.8473 | 4.8473 | 4.8135 | 4.8135 | 18.1575 | 18.1575 | 26.2201 | 26.2201
Regulation Down | 41.0175 | 41.0175 | 38.3779 | 38.3779 | 27.4546 | 27.4546 | 28.1094 | 28.1094 | 15.4781 | 15.4781 | 27.1515 | 27.1515 | 29.734 | 29.734 | 67.3098 | 67.3098 | 26.0572 | 26.0572 | 11.4997 | 11.4997 | 10.6129 | 10.6129 | 8.6993 | 8.6993 | 17.8853 | 17.8853 | 37.996 | 37.996 | 40.9537 | 40.9537 | 17.0485 | 17.0485 | 23.9363 | 23.9363 | 20.1312 | 20.1312 | 16.7703 | 16.7703 | 28.3936 | 28.3936 | 17.8246 | 17.8246 | 18.676 | 18.676 | 15.2715 | 15.2715 | 16.8734 | 16.8734
Responsive Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
*These are preliminary theoretical maxima, not attainable for projects
Revenue Sources by Market Participation
Revenue Sources by Market Participation
Notes: Three minutes.
Show how we deal with worst-case ancillary service signals and how they impact the expected profit and ancillary service offers. Suggest how we might improve this in the future.

## Slide 36
Summary of Initial Results*
Scenario | Throughput Cost | Profit | Cycles
Best Case No Cycling Limits | $0/MWh | $57.54MM, $25.23/kW-month | 980.0
Base Case 365 Max Cycles | $50/MWh | $53.69MM, $23.54/kW-month | 364.3
Worst-Case AS Utilization (Gen.) | $50/MWh | $31.49MM, $13.81/kW-month | 334.0
*These are preliminary theoretical maxima, not attainable for projects
Notes: Break-even: $12-$14/kW-month pays back close to 8% IRR on Cunningham

## Slide 37
Next steps

## Slide 38
Next Steps for Optimization
Incorporation of forecast prices and AS utilization in simulation control loop
  Crucial for understanding model performance in a realistic context
Five-minute real-time energy bidding (instead of one hour)
Hyperparameter tuning for market allocations (heuristic strategy)
Modeling recourse for ancillary services under worst-case assumptions
  The current worst-case modeling approach is overly conservative
Stochastic optimization using probabilistic price and utilization forecast
  This will enable the creation of more complex bid/offer curves
Notes: Three minutes.

## Slide 39
Productization road map
Benchmarking Part 1
Report benchmarking results periodically
Fine tune model to continue to produce maximum achievable profit
Optimization
Price-sensitive bids & offers
User-defined trading strategy
Benchmarking Part 2
5-minute bids & offers
Report benchmarking results using 5-minute and price-sensitive bids & offers
Fine tune model to continue to produce maximum achievable profit
Bid Submission Data Flow
Modify micro service to ingest Geli bids and submit to ERCOT
Create additional infrastructure for FOM bidding architecture
Forecasting
AS price forecasts
AS utilization forecasts
Probabilistic and deterministic price forecasts for all products

## Slide 40
Productization - simulation and benchmarking
Objective:
  Generate the financial results of the optimal schedule using Geli bids
  Compare financial results of Geli- vs. Ascend-generated bids
Simulation assumptions:
  DAM schedules and RTM schedules are forced using price-taker strategy (via extreme price bidding)
  DAM awards for energy are carried through into the RTM
  AS utilization4 applied to determine expected SOC during operating hour
  Actual HSL² (Availability) reflected during simulation horizon
Scenarios:
  Ascend optimization – actual results with bidding performed by Ascend
  Geli optimization – using Geli bids and price forecasts3
Benchmark period: May¹ through October 2023
Goals:
  Achieve maximum gross profit
  Identify drivers of revenue to create bidding strategy
  Improve bidding & optimization performance
  Validate feasibility of optimization results
1Subject to COD for Cunningham
²HSL- High Sustained Limit
3Using both vendor and Geli price forecasts
4Forecast AS utilization currently in development, assumption for benchmarking TBD
Notes: AS assumption options: worst-case, historical, or constant

## Slide 41
Productization - benchmarking process
Phase | Description | Price Forecast Used | Simulation Horizon Start Date1 | Simulation Horizon End Date1 | Benchmark Run Date1
1 | Soft simulation feature testing using raw vendor price forecast | Vendor | April 3, 2023 | April 14, 2023 | April 19, 2023
2 | First benchmark, using raw vendor price forecast | Vendor | May 1, 20232 | May 31, 2023 | June 2, 2023
3 | True benchmark, using Geli price forecast | Vendor + Geli Price Corrections | May 1, 20232 | May 31, 2023 | June 9, 2023
4 | Ongoing monthly benchmarking | Vendor + Geli Price Corrections | May 1, 20232 | October 31, 2023 | Recurring monthly (1st week of following month)
1All dates are tentative and subject to change based on software development
2Subject to Cunningham COD
Notes: Define ‘worst-case

## Slide 42
Productization - establishing a baseline bid strategy
A sensible baseline bid strategy:
  Should permit for risk adjustment (i.e. cycling limits, % of HSL allocated to Energy/AS)
  Must generate maximum achievable profit
  Must be practical - abides by battery’s physical parameters as well market rules
Existing strategy considerations:
  Sell Regulation Down at Charge node – offsets cost of charging in the RTM
  Enforce ‘hurdle cost’ penalty – establishes an opportunity cost to discharge
  Sell AS at both charge and discharge node simultaneously – adds to revenue value stack
  Leverage historical AS utilization on sales of AS at charge node
Future strategy considerations:
  Leverage 5-minute bid & offer submissions
  Leverage forecasted AS utilization – to manage SOC1 in the RTM
  Maximize revenue from DA-RT spread
  Identify seasonal trends in optimal allocation of capacity between DA and RT – for custom bid solutions for customer
  Leverage switching AS obligation between charge and discharge nodes – for RTM operation flexibility
1State of Charge

## Slide 43
Thank you

## Slide 44
Citations
https://insight.factset.com/ercot-battery-dynamics-set-to-follow-caiso-trends
https://insight.factset.com/battery-buildout-in-ercot-to-deliver-a-shock
https://www.spglobal.com/marketintelligence/en/news-insights/research/hourly-profiles-drive-divergent-green-prospects-in-ercot-caiso
https://btuanalytics.com/power-and-renewables/batteries-take-charge-in-caiso/
https://www.energy.ca.gov/media/3757
https://www.energy-storage.news/battery-storage-can-help-solve-texas-super-duck-challenge-of-integrating-renewable-energy/

## Slide 45
Appendix

## Slide 46
Variables: Battery Physics
  Generation (discharge) at time
  Load (charge power) at time
  Stored energy at time
  Charge (1) or discharge (0) at time
Chart: Power (MW)


Chart: Energy (MWh)
| 44791 | 44791.041655092595 | 44791.041666666664 | 44791.083321759259 | 44791.083333333336 | 44791.124988425923 | 44791.125 | 44791.166655092595 | 44791.166666666664 | 44791.208321759259 | 44791.208333333336 | 44791.249988425923 | 44791.25 | 44791.291655092595 | 44791.291666666664 | 44791.333321759259 | 44791.333333333336 | 44791.374988425923 | 44791.375 | 44791.416655092595 | 44791.416666666664 | 44791.458321759259 | 44791.458333333336 | 44791.499988425923 | 44791.5 | 44791.541655092595 | 44791.541666666664 | 44791.583321759259 | 44791.583333333336 | 44791.624988425923 | 44791.625 | 44791.666655092595 | 44791.666666666664 | 44791.708321759259 | 44791.708333333336 | 44791.749988425923 | 44791.75 | 44791.791655092595 | 44791.791666666664 | 44791.833321759259 | 44791.833333333336 | 44791.874988425923 | 44791.875 | 44791.916655092595 | 44791.916666666664 | 44791.958321759259 | 44791.958333333336 | 44791.999988425923 | 44792 | 44792.041655092595 | 44792.041666666664 | 44792.083321759259 | 44792.083333333336 | 44792.124988425923 | 44792.125 | 44792.166655092595 | 44792.166666666664 | 44792.208321759259 | 44792.208333333336 | 44792.249988425923 | 44792.25 | 44792.291655092595 | 44792.291666666664 | 44792.333321759259 | 44792.333333333336 | 44792.374988425923 | 44792.375 | 44792.416655092595 | 44792.416666666664 | 44792.458321759259 | 44792.458333333336 | 44792.499988425923 | 44792.5 | 44792.541655092595 | 44792.541666666664 | 44792.583321759259 | 44792.583333333336 | 44792.624988425923 | 44792.625 | 44792.666655092595 | 44792.666666666664 | 44792.708321759259 | 44792.708333333336 | 44792.749988425923 | 44792.75 | 44792.791655092595 | 44792.791666666664 | 44792.833321759259 | 44792.833333333336 | 44792.874988425923 | 44792.875 | 44792.916655092595 | 44792.916666666664 | 44792.958321759259 | 44792.958333333336 | 44792.999988425923
Energy | 0 | 190 | 380 | 190 | 380 | 190 | 0 | 190 | 380 | 323.2188 | 297.2471 | 259.8754 | 228.5058 | 205.7762 | 152 | 0 | 133.7925 | 258.2453 | 68.2453 | 0 | 11.8844 | 67.5455 | 0 | 56.0334 | 0 | 190 | 380 | 316.8073 | 380 | 190 | 0 | 190 | 380 | 357.1041 | 309.9461 | 379.2012 | 358.3224 | 336.2578 | 317.3092 | 127.3092 | 0 | 77.704 | 43.5429 | 0 | 33.8666 | 80.492 | 0
Notes: Four minutes.

## Slide 47
Variables: Energy Markets
  Day ahead energy discharge (sale)
  Day ahead energy charge (purchase)
  Real time energy discharge (sale)
  Real time energy charge (purchase)
Chart: Award (MW)
Notes: Four minutes.

## Slide 48
Variables: Ancillary Services
  Regulation up gen. increase
  Regulation up load decrease
  Regulation down gen. decrease
  Regulation down load increase
  Responsive reserve gen. increase
  Responsive reserve load decrease
Chart: Award (MW)
Notes: Four minutes.

## Slide 49
Parameters: Physical Limits
  State of charge lower, upper bounds
  Generation lower, upper bounds
  Load lower, upper bounds
  Charge, discharge efficiencies
Cunningham
MWh
MWh
= MW
MW

Notes: Four minutes.

## Slide 50
Parameters: Markets and Utilization
  Energy and ancillary service prices
  Expected gen. ancillary service use
  Expected load ancillary service use
All quantities must be forecasted!
We assume perfect foresight hereafter
Chart: Price (USD/MWh)
Chart: Utilization (%)
Notes: Four minutes.

## Slide 51
Parameters: User-defined Limits
  Proportional discharge limits
  Proportional charge limits
Allows the user to bias power allocations toward one market/service or another
In the absence of probabilistic price forecasts, enables hedging of solutions
Chart: Example User-defined Limit Configuration
| Day Ahead Discharge Limit | Day Ahead Charge Limit | Real Time Discharge Limit | Real Time Charge Limit | Regulation Up Discharge Limit | Regulation Up Charge Limit | Regulation Down Discharge Limit | Regulation Down Charge Limit | Responsive Reserve Discharge Limit | Responsive Reserve Charge Limit
Percentage | 50 | 50 | 100 | 100 | 100 | 20 | 75 | 50 | 80 | 90
Notes: Four minutes.

## Slide 52
Optimization Objective
Energy arbitrage
Ancillary services
Ancillary service energy true-up
Discharge hurdle
Notes: Five minutes.

## Slide 53
Optimization Constraints
Energy, charging power, and discharging power bounds
Charging and discharging complementarity
Energy market and ancillary service award limits
Ancillary service headroom limits, based on energy market commitments
Temporal modeling of the battery’s state of charge
Partitioning of physical and market power quantities
User-defined energy market and ancillary service power limits
Notes: Five minutes.

## Slide 54
Effect of Throughput Cost on Cycling
Chart: Throughput Cost (USD/MWh)
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
Profit (MM USD) | 57.5449 | 56.9883 | 56.2853 | 55.3191 | 54.5143 | 53.6936 | 52.9006 | 52.0004 | 51.3362 | 50.5112 | 49.6726
Vertical Line x | 0 | 2000
Discharge Cycles | 980.0025 | 686.744 | 556.6154 | 469.5738 | 411.3188 | 364.2696 | 327.9508 | 292.9566 | 269.6287 | 244.82 | 224.4205
365 cycles
*These are preliminary theoretical maxima, not attainable for projects
Notes: Three minutes.
Show the effects of varying hurdle price on (1) the number of cycles discharged over the study period and (2) the profit achieved over the year.

## Slide 55
Ten-year Revenue Forecast (Day-ahead Energy Only)
Effect of Hurdle Price on Cycling
Chart: Throughput Cost (USD/MWh)
| 0 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
Profit (MM USD) | 106.3936 | 101.7939 | 101.1465 | 100.3982 | 99.4145 | 98.3698 | 96.8998 | 95.0836 | 93.2059 | 91.2593 | 89.2908 | 87.4167 | 79.5052 | 74.9368 | 68.7207 | 64.8729 | 63.5593 | 62.6575 | 61.6699 | 60.1755
Vertical Line x | 0 | 10000
Discharge Cycles | 9069.5 | 4699 | 4536.5 | 4365.5 | 4159 | 3957 | 3690.5 | 3381.5 | 3082.5 | 2790 | 2510 | 2257 | 1389.5 | 1044 | 678 | 491.5 | 437.5 | 406 | 375.5 | 334 | 0
365 cycles
Notes: Three minutes.
Show the effects of varying hurdle price on (1) the number of cycles discharged over the study period and (2) the profit achieved over the year.

## Slide 56
Ten-year Revenue Forecast (Day-ahead Energy Only)
Effect of Cycling Limits on Profit
Chart: Discharge Cycles
| 3650 | 3650
 | 0 | 96.6617
 | 96.6617 | 96.6617
Profit (MM USD) | 106.3936 | 101.7939 | 101.1465 | 100.3982 | 99.4145 | 98.3698 | 96.8998 | 95.0836 | 93.2059 | 91.2593 | 89.2908 | 87.4167 | 79.5052 | 74.9368 | 68.7207 | 64.8729 | 63.5593 | 62.6575 | 61.6699 | 60.1755
Notes: Three minutes.
Show the effects of varying hurdle price on (1) the number of cycles discharged over the study period and (2) the profit achieved over the year.

## Slide 57
Configurable Participation (0 USD/MWh Throughput Cost)*
Chart: 0% Day Ahead Energy: $50.92MM ($22.33/kW-month)
| Day Ahead | Real Time | Regulation Up | Regulation Down | Responsive Reserve
revenue | 0 | 20.3439 | 24.1814 | 5.5656 | 5.7861
Chart: 0% Ancillary Services: $30.47MM ($13.36/kW-month)
| Day Ahead | Real Time | Regulation Up | Regulation Down | Responsive Reserve
revenue | 20.5268 | 16.6864 | 0 | 0 | 0
Chart: Real Time and RRS: $29.32MM ($12.85/kW-month)
| Day Ahead | Real Time | Regulation Up | Regulation Down | Responsive Reserve
revenue | 0 | 21.2755 | 0 | 0 | 13.7516
Chart: Real Time and 10% Day Ahead: $19.39MM ($8.50/kW-month)
| Day Ahead | Real Time | Regulation Up | Regulation Down | Responsive Reserve
revenue | 3.5204 | 18.4724 | 0 | 0 | 0
Throughput cost
$0/MWh
Throughput cost
$0/MWh
Throughput cost
$0/MWh
Throughput cost
$0/MWh
*These are preliminary theoretical maxima, not attainable for projects
Notes: Four minutes.
Show the effect of changing market allocations, e.g., (1) turn off day-ahead energy participation, (2) turn off all ancillary service participation, (3) only do real-time and responsive reserve, (4) only do 10% day-ahead energy and rest real-time. Show pie charts of cost/revenue and total profit for each scenario.

## Slide 58
Gridmatic Study – Perfect Foresight Assumptions
Projects studied: 19 commercial batteries
  Size: 2 MW – 100 MW / 1 to 4.2 MWh
Study period: 1/1/2021 to 12/31/2021
Perfect foresight: means the maximum revenue that can be achieved in a backcast simulation, assuming perfect foresight of market prices and ancillary service deployments
Assumptions:
  All projects had COD prior to 9/30/2021
  Cycling limit: 365/year
  Regulation deployment: means energy to DAM award ratio, based on actual 4-second interval AGC data from ERCOT
Perfect Scheduler:
  Is a relaxation of that upper bound such that it shows reasonably achievable results
  No free reign with respect to cycling
Notes: Gridmatic is an AI-enabled power marketer founded in 2017 with the objective of applying machine-learning algorithms to the problem of forecasting energy supply, demand, and pricing in wholesale energy markets.
Gross profit has a lower bound of $20 to high of $30

## Slide 59
How much actual profit did batteries make in ERCOT?
Based on a study1, the table on the left shows actual2 gross profit select batteries made in ERCOT in 2021
Key takeaways:
  Excluding the period of Winter Storm Uri, batteries earned an annual avg. gross profit of $14/kW-month
    Inclusive of Uri, batteries earned an annual avg. of $233/kW-month
  AS was the dominant source of revenue (96%) for commercial storage projects in ERCOT
  Earning revenue is peaky – the top 10% of revenue days accounted for 27-54% of the entire annual revenue
1This study was performed by Gridmatic and validated by DNV
2Using 60-Day DAM Disclosure Reports
Credit: DNV
Notes: Gridmatic is an AI-enabled power marketer founded in 2017 with the objective of applying machine-learning algorithms to the problem of forecasting energy supply, demand, and pricing in wholesale energy markets.
Gross profit has a lower bound of $20 to high of $30

## Slide 60
Where are deregulated electric markets in North America?
Participation in electric deregulation is voluntary
Today, there are 19 states that are electrically deregulated
In deregulated states, homes and businesses can “shop around” and select their Retail Energy Provider (“REP”) of choice; this is known as “Retail Choice”
REPs compete for customers and procure their customers’ power needs from wholesale power markets, or via Power Purchase Agreements (“PPAs”) with IPPs
Investor-owned utilities make up the bulk of electric utility providers within traditionally regulated power markets
  Others include public power and co-ops
In traditionally regulated markets, electric utilities may supply power from their own fleet, from PPAs, or via bilateral power trades with other neighboring utilities
Credit: EPA
Notes: In both the regulated and unregulated markets, the state public utility commission still regulates the rates the utility company changes to customers
Regulated electricity markets dominate most of the Southeast, Northwest and much of the West (excluding California)
  Vertically integrated utilities – generally investor-owned utilities; serve over 70% of the electric customers in the U.S.
In traditionally regulated electric markets, rates are regulated by the PUC
  Rates recover operating and investment costs, including earing a “fair” rate of return on those investments; known as revenue requirements